## Slide 1: Lake Tarawera Needs Help!

## Slide 2: Lake Tarawera Sewerage Update
Agenda for today
Brief overview of why Lake Tarawera needs a wastewater system. When to expect action on the ground and how much will it cost.
Update on what has been happening since we last got together.
Update of a meeting we had with RLC
Tell us your rumours

## Slide 3: Lake Tarawera Sewerage Update
Community Committee convened in 2015 Tarawera Sewerage Steering Committee TSSC
Identified Issues – Water Quality, Public Health and the requirement for OSET
Reticulate back to Lake Okareka then to Rotorua or Local Treatment Plant
Undertake CIA Cultural Impact Assessment

## Slide 4: Lake Tarawera Sewerage
Existing Systems
  391 OSET systems, 11 Resource Consents
  9 AWTS systems, 382 septic tanks (97%)
  177 soak hole systems (45%), 75 trench systems (19%)
  Where septic tank size known, 276 were less than the recommended minimum size of 3,000 litres (80%)
Soil Type – Rotomahana mud
Property Size – urban scale, 70% less than 1500m2

## Slide 5: Lake Tarawera Sewerage
A range of environmental constraints have been identified by BOPRC which limit effective and sustainable onsite wastewater management at Tarawera:
  Existing systems
  Soil type
  Property size
  Proximity to groundwater
  Land slope

## Slide 6: Lake Tarawera Sewerage
Effective and sustainable onsite wastewater management severely constrained.
Onsite disposal is contributing to the nutrient and pathogen loads.
The majority of Tarawera properties (95%) do not meet current standards.

## Slide 7: Lake Tarawera Sewerage
Onsite systems are not likely a valid option for 43% of the community and a further 56% face significant upgrades.
Given the evidence of the impacts of OSET discharges and the upgrades required, it is considered important that the settlement is reticulated.

## Slide 8: Lake Tarawera Sewerage

## Slide 9: Lake Tarawera Sewerage Options
Reticulate the community with LPGP and treat at a local treatment MBR plant
Reticulate the community with STEPS and treat at a local treatment MBR plant
Reticulate the community with LPGP and treat connected to the Rotorua Plant via the Okareka connections (2)

## Slide 10: Lake Tarawera Sewerage Options
Reticulate the community with STEPS and treat connected to the Rotorua Plant via the Okareka connections
Cost for LPGP per property $20k to $25k
Cost for Local Treatment Plant $50k
Do nothing and proceed the implementation of OSET

## Slide 11: Lake Tarawera Sewerage

## Slide 12: Lake Tarawera Sewerage
Funds secured
Government Freshwater fund $6.5m
RLC Subsidy $.75m
BOPRC Grant $.75m
Total fixed subsidy $8.0m
Fixed Lump Sum Payments RLC
RLC - No payment through rates

## Slide 13: Lake Tarawera Sewerage
Consideration Of Onsite Options – LPGP
Not so culturally acceptable
Smaller footprint
Cheaper cost
Better ground security – less disturbance
Already in use at Okareka
Easier access machinery
Only 1000 litres
Community acceptable

## Slide 14: Lake Tarawera Sewerage
Consideration of Pipeline Route – Tarawera Rd
Culturally acceptable - road already there
Owned by Council
Known alignment
Easier to work for machinery
Better long-term security
No cost of access or land agreements

## Slide 15: Lake Tarawera Sewerage
The TSSC has completed its task and makes the final recommendation to be taken to Iwi and Ratepayers Meeting 20th October
A Project Steering Committee has been established to monitor the project and liaise with the Community. Committee to comprise of two Ratepayers Reps, one Iwi Rep and one Maori Land Owner Rep with an Independent Chair
A Cultural Committee has been established to assist the Council with the CIA issues

## Slide 16: Lake Tarawera Sewerage
The TSSC is recommending to both Tarawera Ratepayers, to Iwi and Maori land owners
Resolution From Ratepayers and Residence
To Council
That the Tarawera Wastewater system consist of onsite LPGP systems for each property and that the system trunk main connect to the Lake Okareka system via Tarawera Rd

## Slide 17: Lake Tarawera Sewerage
Update from last meeting Oct 2018
Progressing with the CIA expected end May
Set up Council Project Committee
Now in the RLC Annual and Long-term Plans
Staff assigned to make the project happen

## Slide 18: Lake Tarawera Sewerage
Meetings of the Project Steering Committee held
Project Plan and timeline been drawn up
Timing as per the Government Fresh Water Fund allocation
Due to start planning at the end of the year
Construction to start in 2021- Finish 2023

## Slide 19: Lake Tarawera Sewerage
Meeting Held with Mayor, Deputy Mayor and the Council’s CEO
Assurance sought that:
The scheme will proceed
It is a RLC project and is planned for
That a timeline be established
That the cheaper option be selected
No local treatment plant
Individual payment option set up by Council
for hardship

## Slide 20: Lake Tarawera Sewerage